## Title
Autumn 2021
Electrical Engineering
Laboratory report 3
Research on Three-Phase circuits
| Student: | CAO Xinyang
| ITMO ID: | 321793
| Variant: | 72

## Star-Star data
Three-phase input voltage |  |  |  |  | Phasors | Re | Im |  | ∞ | Balanced load |  |  | Unbalanced load
Phase | E, [V] | Freq, [Hz] | Freq, [rad/s] | phase, [°] | O | 0 | 0 |  | phase | R, [Ohm] | L, [H] | C, [F] | R, [Ohm] | L, [H] | C, [F]
A | 345 | 36 | 226.1947 | 0 | EA | 2.1134e-14 | 345 |  | a | 38 | 0.202 | Inf | 38 | 0.202 | Inf
B |  |  |  | -120 | EB | 298.7788 | -172.5 |  | b | 38 | 0.202 | Inf | 46 | 0.242 | Inf
C |  |  |  | 120 | EC | -298.7788 | -172.5 |  | c | 38 | 0.202 | Inf | 46 | 0.242 | Inf
Phases
Load type |  | Ua, [V] | Ub, [V] | Uc, [V] | Ia, [A] | Ib, [A] | Ic, [A] | Pa, [W] | Pb, [W] | Pc, [W] | UNn, [V] | INn, [A] | Za, [Ohm] | Zb, [Ohm] | Zc, [Ohm] | ψUNn, [°] | ψINn, [°] | ψUa, [°] | ψUb, [°] | ψUc, [°] | ψIa, [°] | ψIb, [°] | ψIc, [°]
1 | Exp. | 344.2 | 344.2 | 344.2 | 5.7449 | 5.7465 | 5.7479 | 1261.9 | 1263.9 | 1264 | 1.0541e-14 | 1.1712e-13 | 59.4281 | 59.4281 | 59.4281 | 0 | 0 | 0 | 120 | -120 | 50.2508 | -69.7492 | 170.2508
| Calc. | 345 | 345 | 345 | 5.8053 | 5.8053 | 5.8053 | 1280.6733 | 1280.6733 | 1280.6733 | 0 | 0
2 | Exp. | 343.94 | 343.94 | 343.94 | 5.7354 | 5.7212 | 5.7297 | 1261.9 | 1262.1 | 1264 | 0 | 0 | 59.4281 | 59.4281 | 59.4281 | 0 | 0 | 0 | 120 | -120 | 50.2508 | -69.7492 | 170.2508
| Calc. | 345 | 345 | 345 | 5.8053 | 5.8053 | 5.8053 | 1280.6733 | 1280.6733 | 1280.6733 | 0 | 0
3 | Exp. | 344.05 | 343.99 | 343.99 | 5.7359 | 4.7608 | 4.7665 | 1263.2 | 1055.1 | 1057.5 | 0.087038 | 0.96709 | 59.4281 | 71.5008 | 71.5008 | -51.6917 | -51.6917 | 0 | -120 | 120 | -50.2508 | -169.958 | 70.042
| Calc. | 345 | 345 | 345 | 5.8053 | 4.8251 | 4.8251 | 1280.6733 | 1070.9612 | 1070.9612 | 0.0883 | 0.9806
4 | Exp. | 322.48 | 354.98 | 355.95 | 5.3884 | 4.9137 | 4.9244 | 1108.8 | 1123.9 | 1129.5 | 21.689 | 0 | 59.4281 | 71.5008 | 71.5008 | 1.6237 | 30.9802 | -0.11 | -122.993 | 123.1018 | 50.1408 | -73.035 | 173.0597
| Calc. | 323.1205 | 356.9641 | 355.9243 | 5.4372 | 4.9924 | 4.9779 | 1123.3995 | 1146.5067 | 1139.8565 | 21.8889 | 0
5 | Exp. | 343.94 | 0 | 343.94 | 5.737 | 0 | 5.7498 | 1261.5 | 0 | 1265.2 | 0.51617 | 5.7352 | 59.4281 | 0 | 59.4281 | 9.7492 | 9.7492 | 0 | 0 | 120 | -50.2508 | 0 | 69.7492
| Calc. | 345 | 0 | 345 | 5.8053 | 0 | 5.8053 | 1280.6573 | 0 | 1280.6573 | 0.5225 | 5.8053
6 | Exp. | 297.99 | 0 | 297.99 | 4.9709 | 0 | 4.9709 | 941.38 | 0 | 950.04 | 170.84 | 0 | 59.4281 | 0 | 59.4281 | 60 | 0 | -30 | -120 | 150 | 20.2508 | 0 | -159.7492
| Calc. | 298.7788 | 0 | 298.7788 | 5.0276 | 0 | 5.0276 | 960.5169 | 0 | 960.5169 | 172.5 | 0
7 | Exp. | 0 | 595.98 | 595.98 | 17.222 | 9.943 | 9.943 | 0 | 3792.4 | 3783.9 | 344.09 | 0 | 0 | 59.4281 | 59.4281 | 0 | 0 | 0 | -150 | 150 | 50.2508 | -99.7492 | -159.7492
| Calc. | 0 | 597.5575 | 597.5575 | 17.416 | 10.0551 | 10.0551 | 0 | 3841.9914 | 3841.9914 | 345 | 0
Note on A8: Balanced load with neutral wire
Note on A10: Balanced load without neutral wire
Note on A12: Unbalanced load with neutral wire
Note on A14: Unbalanced load without neutral wire
Note on A16: Line wire breakage with neutral wire
Note on A18: Line wire breakage without neutral wire
Note on A20: Short circuit of one load phase without neutral wire

## Star-Star plots
| Re | Im | 59.4281 | Re | Im
O | 0 | 0 | O | 0 | 0
Ua | 2.1134e-14 | 345 | Ia | -265.2535 | 220.6028
Ub | -298.7788 | -172.5 | Ib | -58.4208 | -340.0177
Uc | 298.7788 | -172.5 | Ia+Ib | -323.6743 | -119.4149
|  |  | Ic | 323.6743 | 119.4149
|  |  | Ia+Ib+Ic | 0 | 0
| Re | Im | 59.4281 | Re | Im
O | 0 | 0 | O | 0 | 0
Ua | 2.1134e-14 | 345 | Ia | -265.2535 | 220.6028
Ub | -298.7788 | -172.5 | Ib | 323.6743 | 119.4149
Uc | 298.7788 | -172.5 | Ia+Ib | 58.4208 | 340.0177
|  |  | Ic | -58.4208 | -340.0177
|  |  | Ia+Ib+Ic | -2.629e-13 | 0
| Re | Im | 59.4281 | Re | Im
O | 0 | 0 | O | 0 | 0
Ua | 2.1134e-14 | 345 | Ia | 265.2535 | 220.6028
Ub | 298.7788 | -172.5 | Ib | 50.0002 | -282.3546
Uc | -298.7788 | -172.5 | Ia+Ib | 315.2537 | -61.7519
|  |  | Ic | -269.5263 | 97.8759
|  |  | Ia+Ib+Ic | 45.7273 | 36.124
|  |  | INn | 45.7278 | 36.1244
| Re | Im | 63.4518 | Re | Im
O | 0 | 0 | O | 0 | 0
UNn | -0.62022 | 21.8801 | Ia | -264.8295 | 221.1116
Ua | 0.62035 | 323.1199 | Ib | 302.9915 | 92.4315
Ub | 299.399 | -194.38 | Ia+Ib | 38.162 | 313.5431
Uc | -298.1583 | -194.3803 | Ic | -38.1666 | -313.5422
UNn+Ua | 0.00012188 | 345 | Ia+Ib+Ic | -0.0045186 | 0.00086467
UNn+Ub | 298.7788 | -172.4999
UNn+Uc | -298.7786 | -172.5002
| Re | Im | 59.4285 | Re | Im
O | 0 | 0 | O | 0 | 0
UNn | -0.088478 | 0.51495 | Ia | 265.2535 | 220.6028
Ua | 2.1134e-14 | 345 | Ib | 0 | 0
Ub | 0 | 0 | Ia+Ib | 265.2535 | 220.6028
Uc | -298.7788 | -172.5 | Ic | -323.6743 | 119.4149
UNn+Ua | -0.088478 | 345.515 | Ia+Ib+Ic | -58.4208 | 340.0177
UNn+Ub | -0.088478 | 0.51495 | INn | -58.4208 | 340.0177
UNn+Uc | -298.8672 | -171.985
| Re | Im | 68.6212 | Re | Im
O | 0 | 0 | O | 0 | 0
UNn | -149.3894 | 86.25 | Ia | -119.4149 | 323.6743
Ua | 149.3894 | 258.75 | Ib | 0 | 0
Ub | 0 | 0 | Ia+Ib | -119.4149 | 323.6743
Uc | -149.3894 | -258.75 | Ic | 119.4149 | -323.6743
UNn+Ua | 1.7847e-05 | 345 | Ia+Ib+Ic | 0 | 0
UNn+Ub | -149.3894 | 86.25
UNn+Uc | -298.7788 | -172.5
| Re | Im | 19.8094 | Re | Im
O | 0 | 0 | O | 0 | 0
UNn | 2.1134e-14 | 345 | Ia | -265.2535 | 220.6028
Ua | 0 | 0 | Ib | 196.3087 | -33.7292
Ub | 298.7787 | -517.5 | Ia+Ib | -68.9449 | 186.8736
Uc | -298.7787 | -517.5 | Ic | 68.944 | -186.8729
UNn+Ua | 2.1134e-14 | 345 | Ia+Ib+Ic | -0.00085176 | 0.00070838
UNn+Ub | 298.7787 | -172.5
UNn+Uc | -298.7787 | -172.5

## Star-Delta data
Three-phase input voltage |  |  |  |  | Phasors | Re | Im |  | ∞ | Balanced load |  |  | Unbalanced load
Phase | E, [V] | Freq, [Hz] | Freq, [rad/s] | phase, [°] | O | 0 | 0 |  | phase | R, [Ohm] | L, [H] | C, [F] | R, [Ohm] | L, [H] | C, [F]
AB | 597.5575 | 36 | 226.1947 | 30 | EAB | -298.7788 | 517.5 |  | ab | 114 | 0.606 | Inf | 122 | 0.646 | Inf
BC |  |  |  | -90 | EBC | 597.5575 | 0 |  | bc | 114 | 0.606 | Inf | 147.6807 | 0.7739 | Inf
CA |  |  |  | 150 | ECA | -298.7788 | -517.5 |  | ca | 114 | 0.606 | Inf | 122 | 0.646 | Inf
Phases
Load type |  | IA, [A] | IB, [A] | IC, [A] | Iab, [A] | Ibc, [A] | Ica, [A] | Pab, [W] | Pbc, [W] | Pca, [W] | Zab, [Ohm] | Zbc, [Ohm] | Zca, [Ohm] | ψIA, [°] | ψIB, [°] | ψIC, [°] | ψIab, [°] | ψIbc, [°] | ψIca, [°]
1 | Exp. | 5.7386 | 5.7418 | 5.7414 | 3.3139 | 3.3155 | 3.3136 | 1261.7 | 1261.8 | 1259.7 | 178.2842 | 178.2842 | 178.2842 | -50.2508 | -170.2508 | 69.7492 | -20.2508 | -140.2508 | 99.7492
| Calc. | 5.8053 | 5.8053 | 5.8053 | 3.3517 | 3.3517 | 3.3517 | 1280.6638 | 1280.6638 | 1280.6638
2 | Exp. | 5.3752 | 4.9224 | 4.938 | 3.1034 | 2.5808 | 3.1041 | 1183.7 | 990.85 | 1183 | 190.3564 | 229.0271 | 190.3564 | -50.1408 | -173.0597 | 73.035 | -20.1408 | -139.848 | 99.8592
| Calc. | 5.4372 | 4.9779 | 4.9924 | 3.1392 | 2.6091 | 3.1392 | 1202.2584 | 1005.322 | 1202.2584
3 | Exp. | 3.3141 | 5.7391 | 3.3137 | 3.3141 | 3.3137 | 0 | 1260.1 | 1261.2 | 0 | 178.2842 | 178.2842 | 178.2842 | -20.2508 | -170.2508 | 39.7492 | -20.2508 | -140.2508 | 0
| Calc. | 3.3517 | 5.8053 | 3.3517 | 3.3517 | 3.3517 | 0 | 1280.6638 | 1280.6638 | 0
4 | Exp. | 0 | 3.3152 | 3.3152 | 0 | 3.3152 | 0 | 0 | 1262.2 | 0 | 178.2842 | 178.2842 | 178.2842 | 0 | -140.2508 | 39.7492 | 0 | -140.2508 | 0
| Calc. | 0 | 3.3517 | 3.3517 | 0 | 3.3517 | 0 | 0 | 1280.6638 | 0
5 | Exp. | 4.9715 | 0 | 4.9715 | 1.6572 | 1.6572 | 3.3143 | 313.51 | 316.42 | 1261.3 | 178.2842 | 178.2842 | 178.2842 | -80.2508 | 0 | 99.7492 | -80.2508 | -80.2508 | 99.7492
| Calc. | 5.0276 | 0 | 5.0276 | 1.6759 | 1.6759 | 3.3517 | 320.1851 | 320.1851 | 1280.6638
6 | Exp. | 4.5131 | 0 | 4.5144 | 1.4094 | 1.4094 | 3.105 | 242.97 | 296.58 | 1184.7 | 190.3564 | 229.0271 | 190.3564 | -80.0909 | 0 | 99.9091 | -79.9809 | -79.9809 | 99.8592
| Calc. | 4.564 | 0 | 4.564 | 1.4249 | 1.4249 | 3.1392 | 247.7015 | 299.842 | 1202.2584
Note on A8: Balanced load
Note on A10: Unbalanced load
Note on A12: Breakage of one phase of the load
Note on A14: Breakage of two phases of the load
Note on A16: Line wire breakage with balanced load
Note on A18: Line wire breakage with unbalanced load

## Star-Delta plots
53.4855 | Re | Im | 57.106 | Re | Im
O | 0 | 0 | Iab | 360.5056 | -4.1951
EA | 2.1134e-14 | 345 | Ibc | -202.7039 | -286.3826
EB | 298.7788 | -172.5 | Ica | -176.6198 | 314.3045
EC | -298.7788 | -172.5
EAB | 0 | 345
EBC | 298.7788 | -172.5
ECA | -298.7788 | -172.5
Iab | 360.8286 | -4.3139
Ibc | -184.1502 | -310.3298
Ica | -176.6784 | 314.6436
53.4855 | Re | Im | 53.4855 | Re | Im
Iab | 360.8286 | -4.3139 | Iab | 298.7788 | -172.5
Ibc | -184.1502 | -310.3298 | Ibc | -184.1502 | -310.3298
Ica | 2.1134e-14 | 345 | Ica | 2.1134e-14 | 345